## Cover
Recost - E3 Resource Cost Calculator - 2024 Q4 (Sample)
Prepared by
44 Montgomery Street, Suite 1500
San Francisco, CA 94104
(415) 391-5100
October 2024
| Questions? Contact: |  | gregory.gangelhoff@ethree.com ; sam.schreiber@ethree.com ; chris.herman@ethree.com ; ye.zheng@ethree.com
Table of Contents
| Sheet | Section | Description
| Instructions | Cover | User instructions
| Chart | Analysis | Creates summary charts by referencing results from "Output Table"
| Output Table | Analysis | Hard-coded results from the macro are pasted here
| Levelized Cost Calculator | Analysis | Levelized cost calculation engine
| Resource Characteristics | Analysis | Primary inputs tab for resource cost and performance data
| Capex | Cost Inputs | User Input of Resource Capex values by Technology / Type / Class can be made on this tab
| Capex ATB | Cost Inputs | Capex assumptions for all technologies by year, as reported in NREL ATB or similar public data source
| Capex E3 | Cost Inputs | E3 Capex assumptions for solar, onshore wind, and Li-ion batteries
| Interconnection | Cost Inputs | Interconnection cost assumptions by year
| FO&M | Cost Inputs | Fixed O&M cost assumptions by year
| VO&M | Cost Inputs | Variable O&M cost assumptions by year
| Fuel | Cost Inputs | Fuel costs
| Property Tax | Cost Inputs | Property tax estimates (if not already included in FO&M)
| Warranty & Augmentation | Cost Inputs | These costs are included in NREL ATB for storage technologies; this field is intentionally unused.
| Periodic Replacement | Cost Inputs | These costs are included in NREL ATB for storage technologies; this field is intentionally unused.
| Financing Trajectories | Financing Inputs | Financing criteria (cost of debt, cost of equity, debt fraction)
| Financing Costs | Financing Inputs | Data parameters used to construct financing criteria (cost of debt, cost of equity, debt fraction)
| Financing Terms | Financing Inputs | Additional financing assumptions by technology
| Tax Credits | Financing Inputs | Tax credit schedules under the Inflation Reduction Act (IRA) and in Canada
| CFF | Financing Inputs | Construction Finance Factor (CFF): Mark-up applied to Capex and Interconnection costs to account for interest paid during construction
| Capacity | Performance Inputs | System installed capacity by technology
| Capacity Factor | Performance Inputs | Capacity factor assumptions by technology and year
| Solar Curtailment | Performance Inputs | (CA Only) Estimated CAISO system-level solar curtailment used to evaluate PTC risk
| Heat Rate | Performance Inputs | Thermal heat rates by year
| Non-Thermal Ops | Performance Inputs | Renewable operating parameters (storage RTE and duration, solar ILR, one-way fuel conversion efficiencies for hydrogen and renewable natural gas)
| Regional Capex Multipliers | Reference | Capex modifiers for select technologies due to variations in labor costs, by technology and state
| Regional FO&M Multipliers | Reference | FO&M modifiers for select technologies due to variations in labor and land acquisition costs, by technology and state
| Interconnection Multipliers | Reference | Interconnection cost multipliers by state/territory
| Tax Rates | Reference | Tax rates by state
| 45V 45Q PTC | Reference | Calculations that inform the PTC values for electrofuels and CCS technologies
| Inflation | Reference | Historical inflation indices
| Technology Lists | Reference | Lists of all technologies, types, and classes represented in Recost
| Lists | Reference | Additional reference tables for dropdowns and named ranges
| Documentation | Reference | Additional model documentation (Work In Progress)
Cell Style Legend
Cells are color-coded to indicate intent:
User Inputs
Dropdown User Inputs
Calculations or Fixed Values
Calculations (different formula than neighboring cells)
Table Headers
Table Sub-Headers
Table Index (Row Descriptions)

## Output Table
Year-by-Year Levelized Resource Costs, Real $2023
|  | Residential PV | Distributed PV | Utility PV - ITC | Utility PV - PTC | Solar Thermal | Onshore Wind | Floating Offshore Wind | Fixed Offshore Wind | Li-ion Battery (4hr) | Li-ion Battery (8hr) | Hybrid Li-ion Battery (4hr) | BTM Li-ion Battery (2hr) | Flow Battery (8hr) | Pumped Hydro - New (10hr) | Pumped Hydro - Existing (10hr) | Geothermal | Enhanced Geothermal Systems | Nuclear SMR | Biomass | Hydro | Thermal PV Storage (24hr) | Hydrogen Electrolyzer - ITC | Hydrogen Electrolyzer - PTC | Hydrogen Storage Reservoir - ITC | Hydrogen Pipeline | Hydrogen CT Aero - ITC | Hydrogen CT Aero - Retrofit - ITC | Hydrogen CT Frame Retrofit - ITC | Hydrogen CCGT Retrofit - ITC | Hydrogen PEM Fuel Cell - ITC | Synthetic Natural Gas - Electrolyzer, DAC, Methanator | Synthetic Natural Gas - Storage Reservoir | Gas CT - Aero - ITC | Long-Duration Storage (100hr) | 100hr LDES Archetype | 10hr LDES Archetype | A-CAES (12hr) | Diabatic CAES (12hr) | Gas CCGT | Gas CT - Frame | CCGT Retrofit 90% CCS | CCGT CCS 95% | CCGT CCS 97% | Allam Cycle 100% | Gas RICE | Gas CT - Aero
| Technology | Solar | Solar | Solar | Solar | Solar | Wind | Wind | Wind | Li-ion Battery | Li-ion Battery | Li-ion Battery | Li-ion Battery | Flow Battery | Pumped Storage Hydropower | Pumped Storage Hydropower | Geothermal | Geothermal | Nuclear | Biopower | Hydro | Thermal PV Storage | Hydrogen | Hydrogen | Hydrogen | Hydrogen | Hydrogen | Hydrogen | Hydrogen | Hydrogen | Hydrogen | Power-to-Gas | Power-to-Gas | Gas | Long-Duration Energy Storage | Long-Duration Energy Storage | Long-Duration Energy Storage | Compressed Air Storage | Compressed Air Storage | Gas | Gas | Gas | Gas | Gas | Gas | Gas | Gas
| Type | Residential PV | Commercial PV | Utility PV | Utility PV | CSP | Onshore | Offshore | Offshore | Utility Standalone | Utility Standalone | Utility Hybrid | Residential | Vanadium | New Reservoir | Existing Reservoir | Hydro - Binary | EGS - NF - Flash | Small Modular Reactor | Dedicated | NPD | n/a | Alkaline Electrolyzer | Alkaline Electrolyzer | Storage Reservoir | Pipeline | CT - Aeroderivative | CT - Aeroderivative - Retrofit | CT - Frame - F Class - Retrofit | CCGT - F Class - Retrofit | PEM Fuel Cell | Electrolyzer, DAC, Methanator | Storage Reservoir | CT - Aeroderivative | LDES Council | CPUC Adjusted | PNNL 10hr | Adiabatic | Diabatic | CCGT - F Class | CT - Frame - F Class | CCS 90% - F Class - Retrofit | CCS 95% - F Class | CCS 97% - F Class | CCS 100% - Allam Cycle | Reciprocating | CT - Aeroderivative
| Cost Class | n/a | n/a | n/a | n/a | n/a | n/a | 12 | 3 | n/a | n/a | n/a | n/a | n/a | 8 | 3 | n/a | n/a | n/a | n/a | 1 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
| Capacity Factor Class | 5 | 5 | 1 | 1 | 3 | 9 | 12 | 3 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 1 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
| PTC Curtailment | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ITC/PTC | ITC | ITC | ITC | PTC | ITC | PTC | ITC | ITC | ITC | ITC | ITC | ITC | ITC | ITC | ITC | ITC | ITC | ITC | ITC | ITC | ITC | ITC | PTC | ITC | None | ITC | ITC | ITC | ITC | ITC | PTC | ITC | ITC | ITC | ITC | ITC | ITC | ITC | None | None | PTC | PTC | PTC | PTC | None | None
| IRA Tax Credit Scenario | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus | Bonus
1 | Capacity Factor, %
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
2 | Nominal After-Tax WACC (%)
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
3 | Capital Cost, $/kW
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
4 | Levelized Capital Cost, $/kW-yr
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
5 | Levelized Interconnection Cost, $/kW-yr
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
6 | Levelized Property Tax, $/kW-yr
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
7 | Passthrough Fixed Cost, $/kW-yr
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
8 | Levelized Investment Tax Credit, $/kW-yr
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
9 | Fixed O&M, $/kW-yr
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
10 | Periodic Replacement & Augmentation, $/kW-yr
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
11 | Variable O&M, $/MWh
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
12 | Fuel Cost, $/MWh
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
13 | Levelized Production Tax Credit, $/MWh
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
14 | Levelized Fixed Cost, $/kW-yr
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
15 | Nominal NPV Fixed Cost, $/kW
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
16 | Nominal NPV Fixed Cost w/ PTC, $/kW
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
17 | Levelized Fixed Cost w/ PTC, $/kW-yr
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
18 | Levelized Cost of Electricity, $/MWh
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
19 | Nominal PPA, $/MWh
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
20 | Nominal Levelized Fixed Cost, $/kW-yr
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
21 | Nominal Levelized Fixed Cost w/PTC, $/kW-yr
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
22 | Nominal LCOE, $/MWh
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050

## Levelized Cost Calculator
Levelized Cost Calculation - Residential PV, IPP Financing
Inputs (2023 $ unless stated otherwise)
| System Cost |  |  | Tax Rate |  |  |  |  | Periodic Replacement |  |  |  | Equity Optimizer
| System Size (MW) |  |  | Income Tax - Federal |  |  |  |  | Replacement Frequency |  |  |  | Equity Share, Manually Specified
| System Cost ($/kW) |  |  | Income Tax - State |  |  |  |  | Interest Rate for Periodic O&M |  |  |  | Equity Share, Minimum
| System Cost ($) |  |  | Income Tax - Effective Tax Rate | [8 empty] | Equity Share, Optimized for Min DSCR
| Initial Debt Service Reserve Funding ($) | [7 empty] | Contract Year |  | Repl. Cost |  | Equity Share (active)
| Total System Cost ($) |  |  | Tax Credit Assumptions |  |  |  |  | 0 |  | 0
|  |  |  | Tax Credit Monetization Rate |  |  |  |  | 0 |  | 0 |  | NPV Equity Return Check
| Interconnection Cost ($/kW) |  |  | Federal PTC ($/MWh) |  |  |  |  | 0 |  | 0 |  | Target DSCR
| Interconnection Cost ($) |  |  | Federal PTC (Years) |  |  |  |  | 0 |  | 0 |  | Active DSCR
|  |  |  | Federal PTC Escalator |  |  |  |  | 0 |  | 0
| Performance Inputs |  |  | Federal ITC (%) |  |  |  |  | 0 |  | 0
| Capacity Factor (AC) |  |  | Federal ITC - % Capital Cost Eligible |  |  |  |  | 0 |  | 0
| Annual Output for Year 1 (kWh) | [7 empty] | 0 |  | 0
| Degradation Factor |  |  | Depreciation |  |  |  |  | 0 |  | 0
| System Economic Life |  |  | Tax Depreciation Basis Reduction (% of ITC) |  |  |  |  | 0 |  | 0
MACRS Term
| Ongoing Costs |  |  | Bonus Depreciation |  |  |  |  | PPA Inputs
| Fixed O&M Costs ($/kW-yr) |  |  | Bonus Depreciation Amount |  |  |  |  | PPA Term
| Fixed O&M Costs Escalator (%/yr) | [7 empty] | Percent Cost Covered by PPA
| Variable O&M Costs ($/MWh) |  |  | Financing
| Variable O&M Costs Escalator (%/yr) |  |  | Optimize Leverage for IPP Return?
| Fuel Costs ($/MMbtu) |  |  | Equity Share
| Fuel Escalator (%/yr) |  |  | % Financed w/ debt
| Heat Rate (Btu/kWh) |  |  | Cost of Debt (Nominal)
| CO2 Allowance Price ($/ton) |  |  | Cost of Equity (Nominal)
| CO2 Allowance Price Escalation (%/yr) |  |  | Debt period in years |  |  |  |  | Passthrough Costs
| CO2 Emission Rate by Fuel (lb/MMBtu) |  |  | WACC (Nominal) |  |  |  |  | Passthrough Fixed Cost (2023$/kW-yr)
| Property Tax (%) |  |  | Interest Rate on DSRF
| Insurance (%) |  |  | Inflation (PPA Escalation Rate)
| Warranty (%) |  |  | Variable Cost Pass Through
| Warranty Start Year |  |  | Target DSCR
| Augmentation (%) |  |  | Equity Amount
| One-Way Fuel Generation Efficiency |  |  | Debt Amount
Cost of Equity (Real)
Outputs
| Real Levelization of Costs for Equity Investor ($2023) |  | $/MWh | $/kW-yr |  | Nominal Levelization of Costs for Equity Investor ($2021) |  |  |  | $/MWh | $/kW-yr |  | Nominal Present Value of Fixed Costs (PLEXOS) |  |  | Including PTC | Excluding PTC
| Capital |  |  |  |  | Capital | [6 empty] | IPP - Real Levelized Fixed Cost
| Interconnection Cost |  |  |  |  | Interconnection Cost | [6 empty] | IPP - Present Value of Fixed Costs, 2023 $
| Property Tax & Insurance |  |  |  |  | Property Tax & Insurance | [6 empty] | IPP - Present Value of Fixed Costs, Nominal $
| Fixed O&M |  |  |  |  | Fixed O&M | [6 empty] | IPP - Nominal Levelized Fixed Cost
| Warranty |  |  |  |  | Warranty | [6 empty] | Utility - Present Value, Nominal $
| Augmentation |  |  |  |  | Augmentation
| Periodic Replacement |  |  |  |  | Periodic Replacement | [6 empty] | Deprecated. For reference only.
| ITC |  |  |  |  | ITC | [6 empty] | Real Present Value of Fixed Costs (PLEXOS)
| PTC |  |  |  |  | PTC | [6 empty] | IPP - Real Levelized Fixed Cost
| Variable O&M |  |  |  |  | Variable O&M | [6 empty] | Utility - Present Value, 2023 $
| Fuel |  |  |  |  | Fuel
| Carbon |  |  |  |  | Carbon
| Passthrough Fixed Cost |  |  |  |  | Passthrough Fixed Cost
| Total |  |  |  |  | Total
Implied Nominal PPA Rate (20Y Term)
| Valuation Results ($2023) |  | $ | %
Equity NPV
Project NPV
Equity IRR
Project IRR
Project Cash Flow
| Project Year > | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Curtailment
Operating Inputs
Energy Production (MWh)
Capacity (MW)
Flag: Operating Year (1=operating)
Operating Revenue
Cost of Generation for PPA Approach
Flag: Variable Cost Pass-Through (1=pass-through)
PPA Escalation Rate
PPA Escalation Index
Levelized Fixed Costs
Variable Costs (Pass-Through)
Levelized All-In Costs
Cost of Generation ($/MWh)
Memo: Old Pro Forma Formula
Cost of Generation ($/MWh)
Check:
E3 Revenue Forecast
Operating Revenue
Operating Revenue
Total Revenue
Operating Costs
FO&M Escalation Index
VO&M Escalation Index
Fixed O&M
FO&M, Pre-Escalation
Fixed O&M Total
Check:
Warranty
Flag: Warranty Year
Warranty Costs, Pre-Escalation
Warranty Total
Check:
Augmentation
Augmentation Costs, Pre-Escalation
Augmentation Total
Check:
Variable O&M
VO&M, Pre-Escalation
Variable O&M Total
Check:
Fuel Costs
Fuel Cost ($/MMBtu)
Heat Rate (Btu/kWh)
Generation (MWh)
Fuel Costs Total
Check:
Carbon
CO2 Allowance Price ($/ton)
CO2 Intensity of Fuel (lb/MMBtu)
Heat Rate (Btu/kWh)
Generation (MWh)
Carbon Costs Total
Check:
Property Tax (NOTE: E3 Assumes 0% as Default)
Taxable Basis (%)
Property Tax Before Depreciation
Property Tax Total
Check:
Insurance
Insurance Costs, Pre-Escalation
Insurance Total
Check:
Operating Costs Summary
Fixed O&M
Warranty
Augmentation
Variable O&M
Fuel Costs
CO2 Abatement Costs
Property Tax
Insurance
Periodic Replacement
Operating Costs
Operating Profit
Operating Revenue
Operating Costs
Operating Profit
Financing Costs
Debt Schedule
Flag: Debt Term
Beginning Balance
Principal Payments
Ending Balance
Total Debt Service
Interest
Interest Check:
Principal Check:
DSCR
Cash Flow Available for Debt Service (CFADS)
Debt Service Coverage Ratio (DSCR)
Average of DSCRs
Minimum DSCR
Target DSCR
Debt Service Fund
Beginning Balance
Initial Funding / (Refund)
Withdrawal
Ending Balance
Interest Rate
Earned Interest
For Pro Forma
Interest Expense
Loan Repayment Expense (Principal)
Debt Service Reserve (Funding) / Refund
Interest Earned on DSRF
Net Financing Costs
Taxes
Depreciation
Depreciation Schedule for State Taxes:
Depreciation Schedule
Depreciation Basis
Depreciation Expense
Depreciation Schedule for Federal Taxes:
Depreciation Schedule
Depreciation Basis
Depreciation Expense
Federal Tax Credits
Production Tax Credit (PTC):
Flag: PTC Eligible Year (1=eligible)
Applicable PTC Rate ($/MWh)
PTCs Generated ($)
Memo: Old Pro Forma Formula
Production Tax Credit
Check:
Investment Tax Credit (ITC):
Flag: Year 1
ITC Generated ($)
Memo: Old Pro Forma Formula
Investment Tax Credit
Check:
State Taxes
Taxable operating income
Interest
Depreciation Expense
Taxable Income
State Tax Benefit/(Liability)
Federal Taxes
Taxable Operating Income
Interest
Depreciation Expense
State Taxes Rebate/(Paid)
Taxable Income
Tax Refund/(Paid)
Production Tax Credit
Investment Tax Credit
Federal Tax Benefit/(Liability)
Total Tax Benefit/(Liability)
After-Tax Equity Cash Flow
Equity Investment
Operating Revenue
Operating Costs
Financing Costs
Total Tax Benefit / (Liability)
After-Tax Equity Cash Flow
Equity Cash Flow per kW
Equity IRR
Check:
Levelized Cost Calculation
Cost Item
Flag: Debt Term
Capital Costs
Upfront Cost (Equity Share)
Debt Principal Payment
Debt Interest Payment
Depreciation Expense
Tax Benefit of Interest and Depreciation
Capital Costs
Memo: Old Pro Forma Calculation
Capital Costs
Check:
Interconnection Cost
Upfront Cost (Equity Share)
Debt Principal Payment
Debt Interest Payment
Depreciation Expense
Tax Benefit of Interest and Depreciation
Interconnection Cost
Memo: Old Pro Forma Calculation
Interconnection Cost
Check:
Investment Tax Credit (ITC)
System Cost
ITC Before Tax Adjustment
Depreciation Adjustments
Bonus Depreciation Input for Year 1
MACRS Depreciation Inputs
Active Depreciation Input for ITC
ITC for LCOE
Memo: Old Pro Forma Calculation
Investment Tax Credit
Check:
Production Tax Credit (PTC)
PTC Before Tax Adjustment
Adjustment for Bonus Depreciation
PTC for LCOE
Memo: Old Pro Forma Calculation
Production Tax Credit
Check:
LCOE Summary
Capital Costs
Interconnection Cost
Property Tax & Insurance
Fixed Operations & Maintenance
Warranty
Augmentation
Periodic Replacement
Investment Tax Credit
Production Tax Credit
Variable Operations & Maintenance
Fuel
Carbon Cost
Total
Total Fixed Cost (Exclude PTC)
Total Fixed Cost (Include PTC)
Total Variable Cost (Pass-Through)
Real Discount Rate (Cost of Equity)
NPV Energy
NPV Capacity
Levelized All-In Costs ($/MWh)
Levelized Fixed Costs ($/MWh)
Supporting Schedules
Check: CFADS yields sufficient coverage | bar: 0
Sum of Debt Service
Target DSCR
Total CFADS required
CFADS over debt term
Net
Periodic O&M
Interest Rate
Beginning Balance | bar: 1
Interest Earned
Contributions
Expenses
Ending Balance
Expense for Pro Forma
MACRS Schedules
x