## Cover
Assumptions Book for ERCOT Market Price Forecast
Core Case ¦ 2026 1st edition
Prepared by:
44 Montgomery Street, Suite 1500
San Francisco, CA 94104
(415) 391-5100
Contact: | marketprices@ethree.com
Note: AEN, CPS and LCRA zones are included in ERCOT-South, while Rayburn is included in ERCOT-North.

## Load Monthly
Gross Load (GWh) | [6 empty] | Load Peak (MW) - Large Flexible Loads Excluded |  |  | *Regional peak represents coincident peak of the zones |  | Load Peak (MW) - Large Flexible Loads Included
| Zone | ERCOT | ERCOT-Houston | ERCOT-North | ERCOT-South | ERCOT-West | ERCOT* | ERCOT-Houston | ERCOT-North | ERCOT-South | ERCOT-West | ERCOT* | ERCOT-Houston | ERCOT-North | ERCOT-South | ERCOT-West
Month | Year | GWh | GWh | GWh | GWh | GWh | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW
1 | 2026 | [10 empty] | 76768.3632 | 15589.9319 | 28274.4559 | 22674.4492 | 10614.5167
2 | 2026 | [10 empty] | 82225.4381 | 17313.3139 | 29765.3046 | 25813.9166 | 10812.203
3 | 2026 | [10 empty] | 71815.2176 | 14871.2452 | 25382.6945 | 21437.9451 | 10573.6097
4 | 2026 | [10 empty] | 72481.8381 | 16646.7686 | 23877.3723 | 21940.8164 | 10874.5144
5 | 2026 | [10 empty] | 84473.9355 | 20238.2076 | 28881.1454 | 24449.5063 | 11651.2812
6 | 2026 | [10 empty] | 89744.7355 | 21246.4167 | 32784.7143 | 25359.4227 | 11581.1207
7 | 2026 | [10 empty] | 93302.9948 | 21207.858 | 34988.3266 | 26375.1138 | 11889.1676
8 | 2026 | [10 empty] | 91656.2844 | 21081.1635 | 33827.0311 | 26200.2316 | 11933.4734
9 | 2026 | [10 empty] | 84408.904 | 19746.2886 | 30363.2375 | 23709.1905 | 11464.0897
10 | 2026 | [10 empty] | 79475.3083 | 18434.1092 | 27288.7975 | 23318.3189 | 11329.3335
11 | 2026 | [10 empty] | 67299.9364 | 16502.4018 | 22950.8891 | 20654.8082 | 11030.6288
12 | 2026 | [10 empty] | 74011.9897 | 14411.7628 | 28155.1938 | 21348.3515 | 11412.5105
1 | 2027 | [10 empty] | 79830.4853 | 16015.9544 | 29206.0498 | 23537.0619 | 11470.6837
2 | 2027 | [10 empty] | 85364.9892 | 17763.9817 | 30727.1773 | 26712.6687 | 11667.3094
3 | 2027 | [10 empty] | 74714.0853 | 15246.0571 | 26217.801 | 22247.0044 | 11429.8598
4 | 2027 | [10 empty] | 74894.7656 | 17379.0091 | 24438.7528 | 22812.9357 | 11730.4037
5 | 2027 | [10 empty] | 87634.7568 | 20713.4481 | 29808.2329 | 25292.7323 | 12526.3251
6 | 2027 | [10 empty] | 93058.6852 | 21730.5824 | 33793.0556 | 26266.0581 | 12455.3844
7 | 2027 | [10 empty] | 96664.126 | 21625.3086 | 36054.9611 | 27129.7685 | 12741.3507
8 | 2027 | [10 empty] | 94744.0108 | 21568.3349 | 34898.0459 | 27103.4535 | 12830.2059
9 | 2027 | [10 empty] | 87304.9856 | 20243.9929 | 31238.8838 | 24515.239 | 12340.6011
10 | 2027 | [10 empty] | 82836.1272 | 18916.816 | 28351.4962 | 24257.6126 | 12043.9019
11 | 2027 | [10 empty] | 70420.7788 | 16940.2415 | 23819.1305 | 21528.0427 | 11901.3462
12 | 2027 | [10 empty] | 77012.3611 | 14840.121 | 29065.9354 | 22181.5376 | 12278.8311
1 | 2028 | [10 empty] | 83217.6476 | 16528.2745 | 30417.9547 | 24435.8383 | 12193.9432
2 | 2028 | [10 empty] | 88771.0761 | 18313.4628 | 31921.0687 | 27668.8231 | 12385.5108
3 | 2028 | [10 empty] | 76374.9885 | 15827.3665 | 27199.4652 | 22447.7962 | 12154.7507
4 | 2028 | [10 empty] | 78358.488 | 17994.6671 | 25652.6871 | 23560.8539 | 12436.2306
5 | 2028 | [10 empty] | 91355.2086 | 21395.6039 | 31113.5332 | 26200.817 | 13231.4938
6 | 2028 | [10 empty] | 96561.2218 | 22430.2824 | 35127.8907 | 27163.9559 | 13194.345
7 | 2028 | [10 empty] | 99877.4867 | 22311.2065 | 37279.7949 | 28272.0402 | 13518.3177
8 | 2028 | [10 empty] | 98594.1132 | 22102.8991 | 36166.4009 | 27865.4367 | 13574.4391
9 | 2028 | [10 empty] | 91159.5484 | 20830.4597 | 32630.9492 | 25589.5722 | 13088.501
10 | 2028 | [10 empty] | 85674.2453 | 19417.475 | 29233.051 | 25027.5814 | 12525.5202
11 | 2028 | [10 empty] | 73633.5348 | 17514.9113 | 25084.3825 | 22390.1466 | 12625.1252
12 | 2028 | [10 empty] | 80411.6902 | 15361.5176 | 30294.5021 | 23112.649 | 13022.0905
1 | 2029 | [10 empty] | 86309.0313 | 16980.8459 | 31489.3901 | 25243.8984 | 12902.1917
2 | 2029 | [10 empty] | 91797.0241 | 18793.1172 | 32981.8287 | 28495.68 | 13107.7653
3 | 2029 | [10 empty] | 79843.2514 | 16345.6079 | 28322.1079 | 23356.649 | 12857.0109
4 | 2029 | [10 empty] | 82086.8222 | 19446.688 | 27011.4439 | 24622.2316 | 13159.19
5 | 2029 | [10 empty] | 95171.3278 | 22006.3731 | 32539.1264 | 27219.9168 | 13980.0401
6 | 2029 | [10 empty] | 100343.1407 | 23073.87 | 36139.1235 | 28141.951 | 13945.636
7 | 2029 | [10 empty] | 104024.5364 | 22953.0913 | 38778.3249 | 29261.214 | 14279.5653
8 | 2029 | [10 empty] | 102157.34 | 22826.9648 | 37478.2195 | 29054.6854 | 14291.5386
9 | 2029 | [10 empty] | 94807.3026 | 21356.6567 | 33994.8653 | 26542.7285 | 13829.5565
10 | 2029 | [10 empty] | 89580.2813 | 20045.5366 | 30723.5205 | 26067.7556 | 13252.3082
11 | 2029 | [10 empty] | 77025.5347 | 18061.4123 | 26325.626 | 23126.8203 | 13349.0527
12 | 2029 | [10 empty] | 83950.7785 | 15819.1776 | 31620.7272 | 24039.4126 | 13775.4227
1 | 2030 | [10 empty] | 94521.578 | 18641.4661 | 34434.7624 | 28238.0698 | 13653.5544
2 | 2030 | [10 empty] | 95413.0097 | 19341.3846 | 33760.5153 | 29455.9978 | 13862.0426
3 | 2030 | [10 empty] | 83007.0793 | 16869.5834 | 29469.2241 | 24154.0887 | 13589.9518
4 | 2030 | [10 empty] | 85439.9252 | 20274.5414 | 28251.35 | 25579.2156 | 13913.0428
5 | 2030 | [10 empty] | 98754.3656 | 22603.1243 | 33892.5582 | 28151.8892 | 14765.6017
6 | 2030 | [10 empty] | 104119.8752 | 23666.6314 | 37724.9049 | 29134.5663 | 14646.2652
7 | 2030 | [10 empty] | 107967.1378 | 23608.5553 | 40340.0397 | 30232.7083 | 15032.0423
8 | 2030 | [10 empty] | 105901.4246 | 23468.432 | 38842.7139 | 30041.8203 | 15043.3955
9 | 2030 | [10 empty] | 98549.111 | 21967.4785 | 35453.682 | 27430.4155 | 14544.9348
10 | 2030 | [10 empty] | 93336.7894 | 20644.5106 | 32181.5026 | 27035.3091 | 13964.859
11 | 2030 | [10 empty] | 80463.2368 | 18571.3614 | 27672.9692 | 23977.542 | 14089.6399
12 | 2030 | [10 empty] | 87573.8043 | 16340.0353 | 33022.2755 | 24967.2386 | 14524.0672
1 | 2031 | [10 empty] | 94147.794 | 18094.2111 | 34644.8709 | 27235.1618 | 14381.3524
2 | 2031 | [10 empty] | 99719.2805 | 19931.2224 | 35731.8259 | 30570.7241 | 14588.4165
3 | 2031 | [10 empty] | 88658.4341 | 17183.6647 | 31436.4564 | 25933.4745 | 14323.817
4 | 2031 | [10 empty] | 89351.275 | 19286.9158 | 29870.4252 | 26418.2209 | 14622.3507
5 | 2031 | [10 empty] | 102013.3368 | 23118.6944 | 35126.5024 | 29040.1031 | 15479.4406
6 | 2031 | [10 empty] | 107760.7586 | 24260.7378 | 39373.148 | 30051.3062 | 15368.8923
7 | 2031 | [10 empty] | 111752.8823 | 24252.3208 | 41843.3431 | 31233.6966 | 15760.0515
8 | 2031 | [10 empty] | 110061.2518 | 24095.1635 | 40537.0796 | 31002.8308 | 15817.584
9 | 2031 | [10 empty] | 102022.1762 | 22580.8378 | 36787.4327 | 29031.04 | 15279.385
10 | 2031 | [10 empty] | 96677.2155 | 21189.4057 | 33426.8878 | 27887.0564 | 15116.6586
11 | 2031 | [10 empty] | 83572.586 | 19068.8876 | 28813.4705 | 25054.057 | 14826.9971
12 | 2031 | [10 empty] | 90935.8561 | 16845.6323 | 34321.2771 | 25820.07 | 15248.2248
1 | 2032 | [10 empty] | 98028.4166 | 18715.7572 | 36224.7912 | 28193.6394 | 15096.2552
2 | 2032 | [10 empty] | 103702.8559 | 20547.1176 | 37364.1752 | 31575.7178 | 15306.4136
3 | 2032 | [10 empty] | 91658.9859 | 17760.1403 | 32596.4179 | 26683.0773 | 15051.2562
4 | 2032 | [10 empty] | 91376.1876 | 20138.4807 | 30422.6502 | 27331.787 | 15317.0434
5 | 2032 | [10 empty] | 105647.4805 | 23659.2801 | 36548.0525 | 29948.625 | 16196.6624
6 | 2032 | [10 empty] | 111677.0556 | 24739.7797 | 40904.3637 | 31048.5469 | 16121.4213
7 | 2032 | [10 empty] | 115693.177 | 24752.9201 | 43463.4898 | 31899.0821 | 16448.2343
8 | 2032 | [10 empty] | 113567.1428 | 24722.9077 | 42216.0556 | 31959.9798 | 16556.2584
9 | 2032 | [10 empty] | 105350.9928 | 23177.3024 | 38131.6247 | 29150.9367 | 15986.9828
10 | 2032 | [10 empty] | 100588.3472 | 21791.6418 | 35040.9511 | 28866.9805 | 15656.1548
11 | 2032 | [10 empty] | 87040.8022 | 19524.2547 | 30473.2152 | 25961.4991 | 15556.2309
12 | 2032 | [10 empty] | 94936.5703 | 17352.9034 | 35920.9996 | 26601.4347 | 15952.0609
1 | 2033 | [10 empty] | 102331.7925 | 19415.2114 | 38026.6907 | 29251.1141 | 15812.4848
2 | 2033 | [10 empty] | 107941.9011 | 21244.6559 | 38831.7077 | 32624.6836 | 16011.1071
3 | 2033 | [10 empty] | 94715.1149 | 18173.5351 | 34183.701 | 27048.2333 | 15775.257
4 | 2033 | [10 empty] | 94523.6133 | 20744.0915 | 31851.8966 | 27999.1747 | 16019.7671
5 | 2033 | [10 empty] | 109053.9765 | 24259.8744 | 37931.05 | 30845.5181 | 16897.7848
6 | 2033 | [10 empty] | 115300.4002 | 25429.3042 | 42451.9032 | 31990.0298 | 16826.319
7 | 2033 | [10 empty] | 118304.4175 | 25346.2145 | 44329.1851 | 32871.8335 | 17166.1951
8 | 2033 | [10 empty] | 116903.4428 | 25193.1891 | 43679.3358 | 32581.5049 | 17270.6057
9 | 2033 | [10 empty] | 108668.7781 | 23743.049 | 39271.6157 | 30067.0962 | 16704.1832
10 | 2033 | [10 empty] | 103147.5564 | 22240.7348 | 35850.5086 | 29511.9246 | 16125.6039
11 | 2033 | [10 empty] | 90129.2456 | 20099.4729 | 32160.3502 | 26747.3669 | 16271.0958
12 | 2033 | [10 empty] | 99560.1358 | 17880.1796 | 37900.0493 | 27828.3776 | 16711.7524
1 | 2034 | [10 empty] | 106750.3182 | 20109.4531 | 39867.4888 | 30324.2736 | 16501.0965
2 | 2034 | [10 empty] | 112333.2951 | 22035.7015 | 40723.9329 | 33739.1645 | 16703.6772
3 | 2034 | [10 empty] | 99468.1322 | 18769.7445 | 36264.9372 | 28196.2555 | 16477.3673
4 | 2034 | [10 empty] | 98265.4964 | 21259.5435 | 33285.4834 | 28805.0389 | 16675.8188
5 | 2034 | [10 empty] | 112490.5283 | 24888.0173 | 39350.9064 | 31674.0979 | 17572.2826
6 | 2034 | [10 empty] | 118841.3522 | 26078.5532 | 43962.1512 | 32900.504 | 17528.6567
7 | 2034 | [10 empty] | 122114.0641 | 25933.5427 | 46088.1713 | 33942.0498 | 17945.9299
8 | 2034 | [10 empty] | 120726.8722 | 25828.9401 | 45159.7394 | 33503.5007 | 17992.6619
9 | 2034 | [10 empty] | 112479.5494 | 24450.22 | 40980.176 | 30964.446 | 17400.5474
10 | 2034 | [10 empty] | 106561.8519 | 22806.7574 | 37170.4563 | 30368.0963 | 16770.2732
11 | 2034 | [10 empty] | 94177.3363 | 20611.4396 | 34044.3274 | 27535.244 | 16972.7177
12 | 2034 | [10 empty] | 103859.5888 | 18468.5821 | 39727.7019 | 28904.1103 | 17434.3871
1 | 2035 | [10 empty] | 110865.3239 | 20917.322 | 41521.7999 | 31328.3868 | 17155.6384
2 | 2035 | [10 empty] | 116541.4055 | 22760.5659 | 42409.6968 | 34828.9894 | 17381.2183
3 | 2035 | [10 empty] | 103919.055 | 19577.7425 | 38169.5636 | 29269.8223 | 17128.9796
4 | 2035 | [10 empty] | 102194.5366 | 22784.7583 | 34822.5317 | 29834.2936 | 17339.7389
5 | 2035 | [10 empty] | 116450.0602 | 25535.3548 | 40784.4386 | 32552.8969 | 18269.5584
6 | 2035 | [10 empty] | 122461.3756 | 26863.362 | 44885.5849 | 33825.1403 | 18227.2598
7 | 2035 | [10 empty] | 127073.6211 | 26706.7668 | 48065.9818 | 34854.0662 | 18688.457
8 | 2035 | [10 empty] | 125349.4145 | 26648.3379 | 46622.6572 | 34777.4093 | 18655.2518
9 | 2035 | [10 empty] | 116397.711 | 25200.6432 | 42631.1349 | 31878.4688 | 18084.881
10 | 2035 | [10 empty] | 110847.1688 | 23542.8609 | 39032.4441 | 31422.151 | 17434.831
11 | 2035 | [10 empty] | 98345.2883 | 21206.6578 | 35661.5407 | 28153.9584 | 17630.9615
12 | 2035 | [10 empty] | 108471.9858 | 19081.7739 | 41627.3704 | 30035.4176 | 18143.8448
1 | 2036 | [10 empty] | 115889.1005 | 22044.5499 | 43938.5598 | 33773.3349 | 17817.1166
2 | 2036 | [10 empty] | 121281.2112 | 23767.6973 | 44345.4423 | 36026.425 | 18026.7925
3 | 2036 | [10 empty] | 107212.0561 | 20316.8974 | 39509.863 | 30099.5271 | 17788.8231
4 | 2036 | [10 empty] | 106390.9148 | 23798.6826 | 36173.7504 | 30539.5524 | 18037.4106
5 | 2036 | [10 empty] | 120938.2589 | 26448.6428 | 42538.293 | 33619.9658 | 19021.7863
6 | 2036 | [10 empty] | 128453.8574 | 28054.3814 | 47594.3399 | 34848.8434 | 18907.634
7 | 2036 | [10 empty] | 130828.7469 | 27684.813 | 49711.5492 | 36217.3335 | 19407.4621
8 | 2036 | [10 empty] | 127863.7097 | 27256.0357 | 48886.5206 | 35727.5345 | 19425.8285
9 | 2036 | [10 empty] | 120844.5898 | 26259.9581 | 44026.3384 | 32941.9784 | 18726.0979
10 | 2036 | [10 empty] | 114310.5764 | 24091.9897 | 40455.2628 | 32313.8919 | 18061.5906
11 | 2036 | [10 empty] | 101800.6745 | 22145.1294 | 36908.0373 | 29052.9924 | 18316.5592
12 | 2036 | [10 empty] | 113033.9906 | 19944.0018 | 43618.9175 | 31120.7889 | 18836.7641
1 | 2037 | [10 empty] | 120223.6011 | 22831.54 | 45587.3262 | 33634.6597 | 18430.1249
2 | 2037 | [10 empty] | 126687.411 | 24740.5842 | 46740.8896 | 37357.8024 | 18577.3338
3 | 2037 | [10 empty] | 114052.9391 | 21993.0432 | 41891.217 | 32148.2642 | 18430.6675
4 | 2037 | [10 empty] | 108428.9299 | 22913.7573 | 37123.6376 | 31270.6319 | 18640.3354
5 | 2037 | [10 empty] | 123869.8346 | 26994.355 | 43591.8547 | 34404.4396 | 19630.6829
6 | 2037 | [10 empty] | 132472.7181 | 28840.4988 | 49118.5755 | 35814.6112 | 19536.9444
7 | 2037 | [10 empty] | 134393.7582 | 28488.3776 | 50886.9542 | 36935.1357 | 20062.6075
8 | 2037 | [10 empty] | 134948.3832 | 28340.5291 | 50412.5595 | 36585.1678 | 20085.9015
9 | 2037 | [10 empty] | 124400.9597 | 26990.2843 | 45240.6514 | 33737.5822 | 19369.0156
10 | 2037 | [10 empty] | 116850.9736 | 24657.6039 | 41206.6916 | 32987.3061 | 19212.3848
11 | 2037 | [10 empty] | 106189.7974 | 22732.3872 | 38711.8183 | 30041.9135 | 18959.1818
12 | 2037 | [10 empty] | 116469.8139 | 20783.7369 | 44842.4626 | 31968.8261 | 19456.1702
1 | 2038 | [10 empty] | 124464.3438 | 23700.6557 | 47337.8964 | 34675.6746 | 19011.1877
2 | 2038 | [10 empty] | 130967.1631 | 25644.4362 | 48469.9401 | 38444.2597 | 19135.7791
3 | 2038 | [10 empty] | 117988.6602 | 22897.6176 | 43479.7787 | 33102.8325 | 19011.9222
4 | 2038 | [10 empty] | 109754.6396 | 23791.5117 | 38060.1523 | 32024.6053 | 19191.7307
5 | 2038 | [10 empty] | 127037.2012 | 27693.3387 | 44758.1198 | 35199.5717 | 20208.6543
6 | 2038 | [10 empty] | 136552.3848 | 29698.3421 | 50773.5843 | 36794.8941 | 20140.8879
7 | 2038 | [10 empty] | 137937.668 | 29282.7087 | 52204.8884 | 37917.0573 | 20624.1961
8 | 2038 | [10 empty] | 138444.1904 | 29155.0211 | 52010.0124 | 37406.5364 | 20711.6097
9 | 2038 | [10 empty] | 128190.9267 | 27807.0025 | 46516.0945 | 34719.8621 | 19966.961
10 | 2038 | [10 empty] | 120304.1682 | 25300.6805 | 42604.1107 | 33869.0792 | 19594.9305
11 | 2038 | [10 empty] | 110440.3847 | 23354.3202 | 40554.2755 | 30883.7104 | 19558.9638
12 | 2038 | [10 empty] | 120611.2341 | 21582.7188 | 46538.4253 | 32964.9763 | 20061.0327
1 | 2039 | [10 empty] | 128601.45 | 24566.8917 | 49055.6569 | 35694.3443 | 19528.0662
2 | 2039 | [10 empty] | 135127.8906 | 26546.7415 | 50195.0505 | 39518.8088 | 19628.4667
3 | 2039 | [10 empty] | 119744.0758 | 22972.759 | 44631.7963 | 33122.7078 | 19543.2597
4 | 2039 | [10 empty] | 112781.3848 | 24632.2848 | 39609.3951 | 32403.888 | 19703.206
5 | 2039 | [10 empty] | 129850.0936 | 28524.7607 | 45799.5604 | 35969.9514 | 20725.767
6 | 2039 | [10 empty] | 140313.191 | 30684.623 | 52310.2699 | 37704.0826 | 20696.7232
7 | 2039 | [10 empty] | 142258.2841 | 30077.3154 | 54074.1157 | 39133.8141 | 21171.4719
8 | 2039 | [10 empty] | 142345.0483 | 30009.8908 | 53187.4603 | 38272.1989 | 21266.4552
9 | 2039 | [10 empty] | 131501.7751 | 28565.7848 | 48258.2448 | 35530.2928 | 20499.3413
10 | 2039 | [10 empty] | 121756.3666 | 25775.3628 | 42726.9265 | 34303.5041 | 19840.5315
11 | 2039 | [10 empty] | 114403.0221 | 24128.0557 | 42018.7595 | 31939.6175 | 20095.478
12 | 2039 | [10 empty] | 125100.5093 | 22426.6525 | 48453.4841 | 34041.2082 | 20630.6248
1 | 2040 | [10 empty] | 132012.9901 | 25345.4973 | 50399.058 | 36543.6982 | 19948.1445
2 | 2040 | [10 empty] | 138954.2159 | 27402.2889 | 51753.6615 | 40515.1623 | 20050.5037
3 | 2040 | [10 empty] | 124131.9978 | 23848.7613 | 46645.6823 | 34088.6673 | 19921.0587
4 | 2040 | [10 empty] | 119929.3974 | 26698.5505 | 41890.5429 | 33291.4075 | 20014.4972
5 | 2040 | [10 empty] | 134033.6332 | 29289.1737 | 47324.5395 | 36770.5607 | 21071.791
6 | 2040 | [10 empty] | 143626.5821 | 31587.05 | 53084.8129 | 38363.018 | 21182.3709
7 | 2040 | [10 empty] | 147942.6517 | 31532.0723 | 56144.274 | 40079.9296 | 21873.9583
8 | 2040 | [10 empty] | 143225.4846 | 30391.3004 | 54245.7834 | 38931.5509 | 21712.2301
9 | 2040 | [10 empty] | 135504.1171 | 29204.5301 | 49881.9333 | 36397.2218 | 20977.0896
10 | 2040 | [10 empty] | 124941.1283 | 26400.4108 | 44065.7202 | 35128.267 | 20203.2932
11 | 2040 | [10 empty] | 117828.387 | 24774.9503 | 43628.8097 | 32809.3312 | 20537.9126
12 | 2040 | [10 empty] | 128996.3778 | 23223.9655 | 50125.2142 | 34967.2173 | 21129.943
1 | 2041 | [10 empty] | 128639.5137 | 25471.18 | 49100.0801 | 37141.7033 | 20317.2834
2 | 2041 | [10 empty] | 136406.2838 | 27429.9043 | 51289.8837 | 39977.349 | 20637.1635
3 | 2041 | [10 empty] | 127324.3846 | 24656.0446 | 47793.115 | 34891.5361 | 20401.9326
4 | 2041 | [10 empty] | 122929.1085 | 27397.6834 | 42974.9588 | 33981.4578 | 20482.5865
5 | 2041 | [10 empty] | 136862.6347 | 29995.6629 | 48338.0341 | 37495.9748 | 21570.2589
6 | 2041 | [10 empty] | 146576.2852 | 32413.3187 | 54595.1002 | 39228.1393 | 21644.7921
7 | 2041 | [10 empty] | 151492.9931 | 32386.6471 | 57535.9182 | 40978.0809 | 22382.7228
8 | 2041 | [10 empty] | 146151.3678 | 31157.3167 | 55531.4858 | 39689.4617 | 22202.8994
9 | 2041 | [10 empty] | 138843.9028 | 29939.5029 | 51193.5572 | 37221.6383 | 21429.685
10 | 2041 | [10 empty] | 127810.7213 | 26995.2726 | 45153.64 | 35877.9701 | 20659.208
11 | 2041 | [10 empty] | 121313.6053 | 25419.161 | 45009.7183 | 33652.0786 | 21019.3548
12 | 2041 | [10 empty] | 132939.098 | 24064.8045 | 51740.6177 | 35925.1748 | 21619.4121
1 | 2042 | [10 empty] | 132535.0005 | 26234.37 | 50568.7794 | 36926.6072 | 20749.316
2 | 2042 | [10 empty] | 140052.4291 | 28185.2897 | 52790.4032 | 41008.5411 | 21085.0315
3 | 2042 | [10 empty] | 134010.8892 | 26376.1698 | 50244.1064 | 37010.3012 | 20874.1351
4 | 2042 | [10 empty] | 122602.955 | 26524.6555 | 42301.1611 | 34856.3843 | 20896.6694
5 | 2042 | [10 empty] | 138748.9921 | 30657.2265 | 48983.1418 | 37913.6067 | 21991.4024
6 | 2042 | [10 empty] | 150140.023 | 33235.6485 | 56346.9738 | 40069.8936 | 22165.4642
7 | 2042 | [10 empty] | 154775.7445 | 33227.7458 | 58791.4107 | 41883.2436 | 22881.7535
8 | 2042 | [10 empty] | 152045.5562 | 32312.9094 | 57220.9962 | 40875.3034 | 22733.6808
9 | 2042 | [10 empty] | 141324.4857 | 30662.7931 | 52229.0451 | 38395.3183 | 21999.332
10 | 2042 | [10 empty] | 129855.7796 | 27487.7143 | 45705.825 | 36434.4729 | 21537.757
11 | 2042 | [10 empty] | 123859.0975 | 26012.7684 | 46109.3691 | 34424.5653 | 21446.0003
12 | 2042 | [10 empty] | 136129.0599 | 24749.3354 | 52995.1683 | 36720.4 | 22080.0807
1 | 2043 | [10 empty] | 136150.5207 | 26988.6777 | 51442.8617 | 37614.1904 | 21157.8056
2 | 2043 | [10 empty] | 144008.2988 | 28822.0256 | 54542.4875 | 41778.8347 | 21511.7005
3 | 2043 | [10 empty] | 136776.1903 | 27048.1508 | 51240.2968 | 37724.2823 | 21307.1376
4 | 2043 | [10 empty] | 124584.4707 | 27044.9864 | 43353.1842 | 35405.8855 | 21287.2718
5 | 2043 | [10 empty] | 141016.2424 | 31310.078 | 49945.9763 | 38766.3462 | 22407.4382
6 | 2043 | [10 empty] | 153364.31 | 33868.6728 | 57590.1879 | 40678.853 | 22630.5536
7 | 2043 | [10 empty] | 158073.2722 | 33978.0134 | 60098.2319 | 42237.8324 | 23367.0183
8 | 2043 | [10 empty] | 155254.3065 | 33039.4533 | 58515.7851 | 41398.1964 | 23194.3008
9 | 2043 | [10 empty] | 144057.2092 | 31313.4837 | 52994.9541 | 38541.5538 | 22289.3134
10 | 2043 | [10 empty] | 132278.9329 | 28003.0998 | 46494.377 | 37038.5578 | 21940.1932
11 | 2043 | [10 empty] | 127066.414 | 26489.0261 | 47441.6358 | 35033.722 | 21889.3171
12 | 2043 | [10 empty] | 138651.1361 | 25417.4841 | 53909.9852 | 37359.8811 | 22503.6274
1 | 2044 | [10 empty] | 138847.8533 | 27601.4785 | 52559.6056 | 38275.4052 | 21530.6322
2 | 2044 | [10 empty] | 147019.4296 | 29402.229 | 55775.3354 | 42512.1336 | 21891.7913
3 | 2044 | [10 empty] | 133348.9661 | 26457.1248 | 51030.3764 | 36431.2104 | 22491.2048
4 | 2044 | [10 empty] | 127769.7442 | 28220.361 | 45695.4487 | 36242.0682 | 21768.307
5 | 2044 | [10 empty] | 145963.8536 | 32386.3092 | 51849.5172 | 39804.5396 | 22904.4917
6 | 2044 | [10 empty] | 159343.9794 | 35266.3588 | 59141.1461 | 42128.0439 | 23175.5569
7 | 2044 | [10 empty] | 162608.048 | 35155.0754 | 61776.996 | 43936.1617 | 23905.0895
8 | 2044 | [10 empty] | 160300.781 | 34350.036 | 60359.2553 | 42658.655 | 23664.7676
9 | 2044 | [10 empty] | 148359.7981 | 31730.9911 | 55016.7922 | 39577.2091 | 22846.5936
10 | 2044 | [10 empty] | 139503.1924 | 30120.0292 | 49633.9617 | 38354.5635 | 22111.1429
11 | 2044 | [10 empty] | 131284.1722 | 27695.7405 | 49383.1653 | 36015.9911 | 22273.9497
12 | 2044 | [10 empty] | 143353.1887 | 26322.5335 | 56316.4666 | 38315.4844 | 22879.3884
1 | 2045 | [10 empty] | 150691.2892 | 29293.7968 | 58166.3601 | 41309.9162 | 22099.1717
2 | 2045 | [10 empty] | 156827.3731 | 31266.1927 | 59118.5613 | 45232.5953 | 22230.6746
3 | 2045 | [10 empty] | 137097.647 | 27089.0433 | 52356.1007 | 36304.0812 | 23127.6748
4 | 2045 | [10 empty] | 130658.0216 | 28834.4742 | 46230.8081 | 36887.6726 | 22295.2781
5 | 2045 | [10 empty] | 149776.8491 | 33072.2342 | 53381.2751 | 40632.9874 | 23428.6618
6 | 2045 | [10 empty] | 162394.2437 | 35934.2651 | 60553.4503 | 42873.2698 | 23577.8866
7 | 2045 | [10 empty] | 166998.7773 | 35920.9279 | 63802.9438 | 44745.7828 | 24381.6733
8 | 2045 | [10 empty] | 164597.8766 | 35115.5723 | 61850.9805 | 43592.4633 | 24077.9259
9 | 2045 | [10 empty] | 152279.5655 | 32600.7817 | 56476.3109 | 40485.1181 | 23256.7735
10 | 2045 | [10 empty] | 142019.6289 | 30684.1373 | 50517.5009 | 39007.097 | 22452.3838
11 | 2045 | [10 empty] | 133635.5583 | 28260.7948 | 50516.1857 | 36722.7888 | 22718.1377
12 | 2045 | [10 empty] | 146245.6305 | 26974.6 | 57456.4484 | 39064.1051 | 23277.5995
1 | 2046 | [10 empty] | 152893.7932 | 29810.2939 | 58889.9397 | 41915.6845 | 22482.2101
2 | 2046 | [10 empty] | 158949.8767 | 31757.4754 | 59744.1449 | 45862.1732 | 22648.893
3 | 2046 | [10 empty] | 143580.6538 | 28038.635 | 54370.4404 | 39231.2387 | 23311.1514
4 | 2046 | [10 empty] | 137041.8208 | 30814.9935 | 48317.025 | 37798.1335 | 22668.9192
5 | 2046 | [10 empty] | 152595.7327 | 33662.2296 | 54472.337 | 41401.362 | 23828.6476
6 | 2046 | [10 empty] | 165353.1272 | 36577.6765 | 61691.6855 | 43638.0616 | 23994.4942
7 | 2046 | [10 empty] | 170080.8165 | 36567.4277 | 65040.8288 | 45518.4863 | 24811.1103
8 | 2046 | [10 empty] | 167960.8727 | 35766.3596 | 63105.1646 | 44566.6993 | 24584.3642
9 | 2046 | [10 empty] | 154908.2341 | 33616.9494 | 57522.6654 | 41163.642 | 23639.9576
10 | 2046 | [10 empty] | 145229.3951 | 31279.9294 | 51899.4854 | 39866.3053 | 22678.5243
11 | 2046 | [10 empty] | 136306.1028 | 28750.249 | 51545.2827 | 36594.842 | 23082.3051
12 | 2046 | [10 empty] | 144837.7967 | 27493.0356 | 55909.563 | 38997.8817 | 23432.1343
1 | 2047 | [10 empty] | 155569.375 | 30344.7934 | 59937.7747 | 42634.0725 | 22902.7397
2 | 2047 | [10 empty] | 161609.3903 | 32311.2539 | 60734.0776 | 46614.1987 | 23010.9715
3 | 2047 | [10 empty] | 145259.452 | 28476.0291 | 55441.3993 | 39715.4247 | 23569.2847
4 | 2047 | [10 empty] | 135073.8302 | 31124.7145 | 48300.39 | 38466.1559 | 23089.1208
5 | 2047 | [10 empty] | 155016.4001 | 34207.9421 | 55311.5036 | 42039.4943 | 24287.102
6 | 2047 | [10 empty] | 168348.2867 | 36399.0546 | 63026.0375 | 44567.1108 | 24358.1024
7 | 2047 | [10 empty] | 172946.8134 | 37184.7852 | 66146.9659 | 45585.4192 | 25233.5341
8 | 2047 | [10 empty] | 170911.3911 | 36415.3024 | 64361.518 | 45270.4372 | 25008.269
9 | 2047 | [10 empty] | 157648.4226 | 34188.6357 | 58549.2162 | 41874.7839 | 24043.9024
10 | 2047 | [10 empty] | 148122.3552 | 31838.4485 | 53082.6323 | 40592.4774 | 23222.8572
11 | 2047 | [10 empty] | 139122.0178 | 28665.878 | 52484.2673 | 37467.3887 | 23473.3565
12 | 2047 | [10 empty] | 142720.1187 | 27203.0172 | 54349.3067 | 38467.211 | 24028.9196
1 | 2048 | [10 empty] | 158884.5699 | 30869.4706 | 61468.5891 | 43502.3742 | 23174.8248
2 | 2048 | [10 empty] | 165025.4314 | 32895.6088 | 62275.6575 | 47554.3985 | 23138.2082
3 | 2048 | [10 empty] | 151475.172 | 30047.0642 | 57054.3523 | 41714.1615 | 24013.6919
4 | 2048 | [10 empty] | 137895.322 | 30209.7365 | 48119.5436 | 38774.8904 | 23266.2713
5 | 2048 | [10 empty] | 156024.7193 | 34488.3672 | 55655.0361 | 42435.9901 | 24488.4401
6 | 2048 | [10 empty] | 170427.1042 | 37636.0168 | 64212.1844 | 44932.6278 | 24813.3047
7 | 2048 | [10 empty] | 175756.4934 | 37816.201 | 67226.054 | 46629.2514 | 25656.8342
8 | 2048 | [10 empty] | 172716.1499 | 36891.1347 | 65517.0986 | 45709.4684 | 25488.1991
9 | 2048 | [10 empty] | 159464.6146 | 34784.2776 | 59019.8685 | 42408.2786 | 24408.189
10 | 2048 | [10 empty] | 145178.5603 | 31070.0974 | 51711.8015 | 40320.4907 | 23992.8584
11 | 2048 | [10 empty] | 140845.9513 | 29559.4063 | 52909.9219 | 38511.563 | 23815.4306
12 | 2048 | [10 empty] | 153511.8413 | 28408.0094 | 60267.7581 | 40982.9888 | 24463.5374
1 | 2049 | [10 empty] | 161469.6316 | 31394.0007 | 62430.6868 | 44203.018 | 23680.1078
2 | 2049 | [10 empty] | 167649.1478 | 33431.0673 | 63271.82 | 48290.0976 | 23804.6856
3 | 2049 | [10 empty] | 153739.9198 | 30543.7096 | 57800.8411 | 42339.3906 | 24722.312
4 | 2049 | [10 empty] | 138831.3971 | 30718.4346 | 49801.4035 | 39642.5126 | 23658.9008
5 | 2049 | [10 empty] | 157179.969 | 34991.5329 | 56030.6834 | 43093.4363 | 24888.4765
6 | 2049 | [10 empty] | 171509.3707 | 38202.7968 | 64186.9621 | 45446.3763 | 25226.2052
7 | 2049 | [10 empty] | 178020.8628 | 38224.2794 | 67996.9697 | 47352.8665 | 26026.0503
8 | 2049 | [10 empty] | 175938.9297 | 37493.9307 | 66217.5258 | 46669.8241 | 25803.1599
9 | 2049 | [10 empty] | 161324.9953 | 34614.909 | 59806.1703 | 42760.2318 | 24850.279
10 | 2049 | [10 empty] | 153048.415 | 32851.3468 | 54894.0955 | 41922.8303 | 24162.0647
11 | 2049 | [10 empty] | 143703.7042 | 30028.2958 | 54174.8181 | 39200.9947 | 24246.873
12 | 2049 | [10 empty] | 156033.513 | 28870.3449 | 61209.7219 | 41655.3314 | 24870.8834
1 | 2050 | [10 empty] | 164018.8392 | 31881.7077 | 63411.915 | 44898.5878 | 24052.2199
2 | 2050 | [10 empty] | 170233.7923 | 33939.3862 | 64175.6886 | 49030.9125 | 24157.7579
3 | 2050 | [10 empty] | 148976.8208 | 29661.7389 | 56894.1239 | 40813.5786 | 25265.9356
4 | 2050 | [10 empty] | 141542.6973 | 31290.2102 | 50714.473 | 39907.1119 | 24254.3149
5 | 2050 | [10 empty] | 160953.9205 | 35689.1192 | 57146.8401 | 43693.0771 | 25484.5263
6 | 2050 | [10 empty] | 176365.348 | 38914.3506 | 65985.6017 | 46680.5105 | 25624.0814
7 | 2050 | [10 empty] | 179431.0859 | 38797.5538 | 68136.2204 | 48384.7864 | 26438.9433
8 | 2050 | [10 empty] | 178783.2398 | 38109.8917 | 67087.9128 | 47357.3589 | 26228.0763
9 | 2050 | [10 empty] | 163620.2365 | 35391.832 | 60623.1296 | 43576.616 | 25252.21
10 | 2050 | [10 empty] | 153978.9317 | 33230.6305 | 54787.9089 | 42208.081 | 24417.7032
11 | 2050 | [10 empty] | 145664.761 | 30591.5438 | 54877.9484 | 39897.5763 | 24684.5885
12 | 2050 | [10 empty] | 158904.7528 | 29314.4242 | 62434.248 | 42406.6459 | 25294.8591
1 | 2051 | [10 empty] | 166106.3235 | 32323.9005 | 64094.3759 | 45486.9208 | 24410.3613
2 | 2051 | [10 empty] | 172808.4395 | 34443.2955 | 65131.0959 | 49775.2357 | 24551.5055
3 | 2051 | [10 empty] | 155339.7355 | 30351.9291 | 58743.6042 | 42427.6417 | 25394.9238
4 | 2051 | [10 empty] | 143863.2901 | 31323.49 | 50931.583 | 40502.2365 | 24611.5612
5 | 2051 | [10 empty] | 164576.5769 | 36311.0768 | 58594.0161 | 44588.6806 | 25851.5486
6 | 2051 | [10 empty] | 178574.8376 | 39492.7611 | 67281.863 | 47103.8994 | 26051.7241
7 | 2051 | [10 empty] | 183599.5164 | 39479.9421 | 70076.3095 | 49151.6865 | 26919.5735
8 | 2051 | [10 empty] | 180966.2215 | 38596.3914 | 68341.9885 | 47889.1189 | 26745.7895
9 | 2051 | [10 empty] | 167315.2789 | 36397.6469 | 62035.1364 | 44451.2726 | 25603.1573
10 | 2051 | [10 empty] | 156154.8117 | 33709.0578 | 55497.277 | 42820.9835 | 24636.4253
11 | 2051 | [10 empty] | 147457.8698 | 31058.6934 | 55732.7961 | 39584.4633 | 25086.9261
12 | 2051 | [10 empty] | 156861.941 | 29781.7094 | 60515.0877 | 42211.476 | 25438.2764
1 | 2052 | [10 empty] | 167831.6768 | 32694.793 | 64589.7062 | 45996.647 | 24782.0796
2 | 2052 | [10 empty] | 174460.3063 | 34814.7738 | 65524.8247 | 50326.3747 | 24907.8105
3 | 2052 | [10 empty] | 156688.4077 | 30669.4396 | 59037.4454 | 42843.9192 | 26312.5688
4 | 2052 | [10 empty] | 150001.5784 | 33702.2686 | 52746.8782 | 40651.936 | 25028.8063
5 | 2052 | [10 empty] | 165735.0863 | 36619.7414 | 58622.2166 | 44900.3311 | 26330.7359
6 | 2052 | [10 empty] | 181579.0653 | 40026.0021 | 67875.4511 | 48069.8862 | 26439.1051
7 | 2052 | [10 empty] | 184227.7513 | 39243.6601 | 70288.5515 | 49934.0464 | 27050.5688
8 | 2052 | [10 empty] | 184337.1524 | 39239.5758 | 69184.2235 | 48827.8265 | 27116.7566
9 | 2052 | [10 empty] | 168856.5547 | 36826.2103 | 62363.7308 | 44865.8646 | 26062.3061
10 | 2052 | [10 empty] | 153949.651 | 32638.3844 | 54268.0337 | 42927.2636 | 25184.3844
11 | 2052 | [10 empty] | 150046.9653 | 31445.5536 | 56396.5174 | 41079.2285 | 25449.1736
12 | 2052 | [10 empty] | 163942.9878 | 30163.3195 | 64506.0776 | 43729.2215 | 26134.9218
1 | 2053 | [10 empty] | 162784.4603 | 31639.4832 | 64124.7383 | 44188.9211 | 25252.6025
2 | 2053 | [10 empty] | 167770.5464 | 32679.077 | 65241.8546 | 49018.6138 | 25391.8611
3 | 2053 | [10 empty] | 164121.4716 | 32428.5717 | 61893.5666 | 45166.3729 | 25061.3294
4 | 2053 | [10 empty] | 149064.6574 | 32633.0064 | 51868.5035 | 41888.744 | 25243.7652
5 | 2053 | [10 empty] | 168687.4604 | 37191.2881 | 59894.172 | 45649.573 | 26536.8375
6 | 2053 | [10 empty] | 183710.2421 | 40617.1699 | 69053.3939 | 48610.568 | 26878.8676
7 | 2053 | [10 empty] | 189162.4909 | 40663.7315 | 72185.7486 | 50744.927 | 27790.4181
8 | 2053 | [10 empty] | 185954.5853 | 39675.6242 | 70293.1566 | 49385.7655 | 27604.0001
9 | 2053 | [10 empty] | 171926.7852 | 37404.3901 | 64238.4956 | 46626.6069 | 26688.0558
10 | 2053 | [10 empty] | 156419.1646 | 33434.0168 | 55547.7779 | 43486.9612 | 26014.9034
11 | 2053 | [10 empty] | 152097.256 | 31916.7316 | 56869.5521 | 41694.8501 | 25822.8913
12 | 2053 | [10 empty] | 166197.1972 | 30615.3352 | 65276.8801 | 44364.2188 | 26548.0981
1 | 2054 | [10 empty] | 173708.8093 | 33703.899 | 67022.2111 | 47578.3665 | 25655.2033
2 | 2054 | [10 empty] | 180425.3063 | 35902.8909 | 67919.952 | 51990.8935 | 25791.7309
3 | 2054 | [10 empty] | 165713.9608 | 32815.8165 | 62250.6504 | 45648.7876 | 26776.2846
4 | 2054 | [10 empty] | 150857.4292 | 32985.5672 | 53451.9412 | 42685.5555 | 25639.8177
5 | 2054 | [10 empty] | 169560.0419 | 37612.3007 | 59580.9594 | 46406.0046 | 26959.2205
6 | 2054 | [10 empty] | 184907.0126 | 41052.2856 | 69377.0175 | 49124.6302 | 27316.8481
7 | 2054 | [10 empty] | 192003.5587 | 41244.9086 | 73273.751 | 50978.2739 | 28233.3286
8 | 2054 | [10 empty] | 189186.999 | 40265.7246 | 70839.8084 | 50215.4886 | 27934.1747
9 | 2054 | [10 empty] | 174284.5985 | 37142.2999 | 64340.8814 | 46343.7169 | 26894.4827
10 | 2054 | [10 empty] | 164358.9415 | 35257.9782 | 58713.8631 | 44991.6314 | 26421.0483
11 | 2054 | [10 empty] | 154634.4722 | 32269.1423 | 58220.7351 | 42176.0225 | 26238.7276
12 | 2054 | [10 empty] | 167934.399 | 31043.5399 | 65755.2496 | 44858.5194 | 26936.9883
1 | 2055 | [10 empty] | 176162.9166 | 34164.6143 | 67931.4918 | 48259.2372 | 26064.9922
2 | 2055 | [10 empty] | 182907.1859 | 36392.9361 | 68850.58 | 52718.1571 | 26201.164
3 | 2055 | [10 empty] | 160954.947 | 31808.2529 | 61555.6475 | 43960.664 | 27336.6148
4 | 2055 | [10 empty] | 152119.3246 | 33440.2493 | 54173.2243 | 43306.8615 | 26256.3126
5 | 2055 | [10 empty] | 172583.0144 | 38075.4544 | 60974.1327 | 46836.6719 | 27596.8538
6 | 2055 | [10 empty] | 189597.0594 | 41606.7538 | 70792.0341 | 50215.5396 | 27694.1175
7 | 2055 | [10 empty] | 194222.9008 | 41629.5374 | 74001.9591 | 51713.4791 | 28619.7978
8 | 2055 | [10 empty] | 192067.6808 | 40881.0212 | 72064.6207 | 50957.0033 | 28378.0542
9 | 2055 | [10 empty] | 176059.0509 | 37985.5006 | 65093.0334 | 46727.3172 | 27339.6383
10 | 2055 | [10 empty] | 167030.153 | 35774.5714 | 59732.2634 | 45789.2248 | 26592.8248
11 | 2055 | [10 empty] | 156726.6161 | 32699.2951 | 58943.9385 | 42813.9107 | 26737.8368
12 | 2055 | [10 empty] | 170286.0229 | 31416.6504 | 66632.6459 | 45493.8513 | 27364.3775

## Load Annual
Gross Load (GWh) | [9 empty] | Load Peak (MW) - Large Flexible Loads Excluded |  |  | *Regional peak represents coincident peak of the zones |  |  | Load Peak (MW) - Large Flexible Loads Included |  |  | *Regional peak represents coincident peak of the zones
Load component | Total | Baseline | Data Center | Large Flexible Load | Electrification | Total | Total | Total | Total | Load component | Total | Total | Total | Total | Total | Load component | Total | Total | Total | Total | Total
Zone | ERCOT | ERCOT | ERCOT | ERCOT | ERCOT | ERCOT-Houston | ERCOT-North | ERCOT-South | ERCOT-West | Zone | ERCOT* | ERCOT-Houston | ERCOT-North | ERCOT-South | ERCOT-West | Zone | ERCOT* | ERCOT-Houston | ERCOT-North | ERCOT-South | ERCOT-West
Year | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | GWh | Year | MW | MW | MW | MW | MW | Year | MW | MW | MW | MW | MW
2026 | [9 empty] | 2026 | [5 empty] | 2026 | 93302.9948 | 21246.4167 | 34988.3266 | 26375.1138 | 11933.4734
2027 | [9 empty] | 2027 | [5 empty] | 2027 | 96664.126 | 21730.5824 | 36054.9611 | 27129.7685 | 12830.2059
2028 | [9 empty] | 2028 | [5 empty] | 2028 | 99877.4867 | 22430.2824 | 37279.7949 | 28272.0402 | 13574.4391
2029 | [9 empty] | 2029 | [5 empty] | 2029 | 104024.5364 | 23073.87 | 38778.3249 | 29261.214 | 14291.5386
2030 | [9 empty] | 2030 | [5 empty] | 2030 | 107967.1378 | 23666.6314 | 40340.0397 | 30232.7083 | 15043.3955
2031 | [9 empty] | 2031 | [5 empty] | 2031 | 111752.8823 | 24260.7378 | 41843.3431 | 31233.6966 | 15817.584
2032 | [9 empty] | 2032 | [5 empty] | 2032 | 115693.177 | 24752.9201 | 43463.4898 | 31959.9798 | 16556.2584
2033 | [9 empty] | 2033 | [5 empty] | 2033 | 118304.4175 | 25429.3042 | 44329.1851 | 32871.8335 | 17270.6057
2034 | [9 empty] | 2034 | [5 empty] | 2034 | 122114.0641 | 26078.5532 | 46088.1713 | 33942.0498 | 17992.6619
2035 | [9 empty] | 2035 | [5 empty] | 2035 | 127073.6211 | 26863.362 | 48065.9818 | 34854.0662 | 18688.457
2036 | [9 empty] | 2036 | [5 empty] | 2036 | 130828.7469 | 28054.3814 | 49711.5492 | 36217.3335 | 19425.8285
2037 | [9 empty] | 2037 | [5 empty] | 2037 | 134948.3832 | 28840.4988 | 50886.9542 | 37357.8024 | 20085.9015
2038 | [9 empty] | 2038 | [5 empty] | 2038 | 138444.1904 | 29698.3421 | 52204.8884 | 38444.2597 | 20711.6097
2039 | [9 empty] | 2039 | [5 empty] | 2039 | 142345.0483 | 30684.623 | 54074.1157 | 39518.8088 | 21266.4552
2040 | [9 empty] | 2040 | [5 empty] | 2040 | 147942.6517 | 31587.05 | 56144.274 | 40515.1623 | 21873.9583
2041 | [9 empty] | 2041 | [5 empty] | 2041 | 151492.9931 | 32413.3187 | 57535.9182 | 40978.0809 | 22382.7228
2042 | [9 empty] | 2042 | [5 empty] | 2042 | 154775.7445 | 33235.6485 | 58791.4107 | 41883.2436 | 22881.7535
2043 | [9 empty] | 2043 | [5 empty] | 2043 | 158073.2722 | 33978.0134 | 60098.2319 | 42237.8324 | 23367.0183
2044 | [9 empty] | 2044 | [5 empty] | 2044 | 162608.048 | 35266.3588 | 61776.996 | 43936.1617 | 23905.0895
2045 | [9 empty] | 2045 | [5 empty] | 2045 | 166998.7773 | 35934.2651 | 63802.9438 | 45232.5953 | 24381.6733
2046 | [9 empty] | 2046 | [5 empty] | 2046 | 170080.8165 | 36577.6765 | 65040.8288 | 45862.1732 | 24811.1103
2047 | [9 empty] | 2047 | [5 empty] | 2047 | 172946.8134 | 37184.7852 | 66146.9659 | 46614.1987 | 25233.5341
2048 | [9 empty] | 2048 | [5 empty] | 2048 | 175756.4934 | 37816.201 | 67226.054 | 47554.3985 | 25656.8342
2049 | [9 empty] | 2049 | [5 empty] | 2049 | 178020.8628 | 38224.2794 | 67996.9697 | 48290.0976 | 26026.0503
2050 | [9 empty] | 2050 | [5 empty] | 2050 | 179431.0859 | 38914.3506 | 68136.2204 | 49030.9125 | 26438.9433
2051 | [9 empty] | 2051 | [5 empty] | 2051 | 183599.5164 | 39492.7611 | 70076.3095 | 49775.2357 | 26919.5735
2052 | [9 empty] | 2052 | [5 empty] | 2052 | 184337.1524 | 40026.0021 | 70288.5515 | 50326.3747 | 27116.7566
2053 | [9 empty] | 2053 | [5 empty] | 2053 | 189162.4909 | 40663.7315 | 72185.7486 | 50744.927 | 27790.4181
2054 | [9 empty] | 2054 | [5 empty] | 2054 | 192003.5587 | 41244.9086 | 73273.751 | 51990.8935 | 28233.3286
2055 | [9 empty] | 2055 | [5 empty] | 2055 | 194222.9008 | 41629.5374 | 74001.9591 | 52718.1571 | 28619.7978

## Capacity
Resource Nameplate Capacity (MW)
| Zone | ERCOT | [11 empty] | ERCOT-Houston | [11 empty] | ERCOT-North | [11 empty] | ERCOT-South | [11 empty] | ERCOT-West
| Year | Nuclear | Coal | Gas | Oil | Hydro | PSHydro | Battery | Other | Wind | WindOff | Solar | BTMPV | Nuclear | Coal | Gas | Oil | Hydro | PSHydro | Battery | Other | Wind | WindOff | Solar | BTMPV | Nuclear | Coal | Gas | Oil | Hydro | PSHydro | Battery | Other | Wind | WindOff | Solar | BTMPV | Nuclear | Coal | Gas | Oil | Hydro | PSHydro | Battery | Other | Wind | WindOff | Solar | BTMPV | Nuclear | Coal | Gas | Oil | Hydro | PSHydro | Battery | Other | Wind | WindOff | Solar | BTMPV
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
Note: Battery storage listed is the total capacity, regardless of duration. | 2041
2042
2043
2044
2045
2046
2047
2048
2049
2050
2051
2052
2053
2054
2055

## Generation
Resource Generation (GWh)
| Zone | ERCOT | [11 empty] | ERCOT-Houston | [11 empty] | ERCOT-North | [11 empty] | ERCOT-South | [11 empty] | ERCOT-West
| Year | Nuclear | Coal | Gas | Oil | Hydro | PSHydro | Battery | Other | Wind | WindOff | Solar | BTMPV | Nuclear | Coal | Gas | Oil | Hydro | PSHydro | Battery | Other | Wind | WindOff | Solar | BTMPV | Nuclear | Coal | Gas | Oil | Hydro | PSHydro | Battery | Other | Wind | WindOff | Solar | BTMPV | Nuclear | Coal | Gas | Oil | Hydro | PSHydro | Battery | Other | Wind | WindOff | Solar | BTMPV | Nuclear | Coal | Gas | Oil | Hydro | PSHydro | Battery | Other | Wind | WindOff | Solar | BTMPV
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
Note: Battery storage generation is reported net of charge, including efficiency losses. | 2042
2043
2044
2045
2046
2047
2048
2049
2050
2051
2052
2053
2054
2055

## New Resource Costs
New Resource Costs (Nominal $/kW-yr)
Resource Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055
Solar - Tracking (PTC)
Solar - Tracking (ITC)
Onshore Wind
Gas - CCGT
Gas - CT - Aero
Gas - CT - Frame
Utility-scale Battery - Li-ion - 2hr
Utility-scale Battery - Li-ion - 4hr
Utility-scale Battery - Li-ion - 6hr
Utility-scale Battery - Li-ion - 8hr
Solar CF
Onshore Wind CF
Gas Peaker CF
Note: Capacity factors above are only representative. Actual capacity factors will vary by project and market conditions.
New Resource Costs (Nominal $/MWh)
Resource Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055
Solar - Tracking
Onshore Wind
Gas - CT - Aero
Installed Cost (Nominal $/kW)
Resource Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055
Solar - Tracking (AC)
Onshore Wind
Gas - CCGT
Gas - CT - Aero
Gas - CT - Frame
Utility-scale Battery - Li-ion - 2hr
Utility-scale Battery - Li-ion - 4hr
Utility-scale Battery - Li-ion - 6hr
Utility-scale Battery - Li-ion - 8hr
Installed Cost (Nominal $/kWh)
Resource Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055
Utility-scale Battery - Li-ion - 2hr
Utility-scale Battery - Li-ion - 4hr
Utility-scale Battery - Li-ion - 6hr
Utility-scale Battery - Li-ion - 8hr

## Gas Prices
Natural Gas Prices by Hub (Nominal $/MMBtu) - Annual prices by season | [6 empty] | Natural Gas Prices by Hub (Nominal$/MMBtu) - Monthly prices
| Winter: Oct - Apr |  |  | Summer: May - Sept |  |  | Assumption | Year | Month | Henry Hub | Houston Ship Channel | Waha Hub | Summer Flag
| Winter | Winter | Winter | Summer | Summer | Summer | Forwards | 2026 | 1
| Henry Hub | Houston Ship Channel | Waha Hub | Henry Hub | Houston Ship Channel | Waha Hub | Forwards | 2026 | 2
2026 | [6 empty] | Forwards | 2026 | 3
2027 | [6 empty] | Forwards | 2026 | 4
2028 | [6 empty] | Forwards | 2026 | 5
2029 | [6 empty] | Forwards | 2026 | 6
2030 | [6 empty] | Forwards | 2026 | 7
2031 | [6 empty] | Forwards | 2026 | 8
2032 | [6 empty] | Forwards | 2026 | 9
2033 | [6 empty] | Forwards | 2026 | 10
2034 | [6 empty] | Forwards | 2026 | 11
2035 | [6 empty] | Forwards | 2026 | 12
2036 | [6 empty] | Forwards | 2027 | 1
2037 | [6 empty] | Forwards | 2027 | 2
2038 | [6 empty] | Forwards | 2027 | 3
2039 | [6 empty] | Forwards | 2027 | 4
2040 | [6 empty] | Forwards | 2027 | 5
2041 | [6 empty] | Forwards | 2027 | 6
2042 | [6 empty] | Forwards | 2027 | 7
2043 | [6 empty] | Forwards | 2027 | 8
2044 | [6 empty] | Forwards | 2027 | 9
2045 | [6 empty] | Forwards | 2027 | 10
2046 | [6 empty] | Forwards | 2027 | 11
2047 | [6 empty] | Forwards | 2027 | 12
2048 | [6 empty] | Forwards | 2028 | 1
2049 | [6 empty] | Forwards | 2028 | 2
2050 | [6 empty] | Forwards | 2028 | 3
2051 | [6 empty] | Forwards | 2028 | 4
2052 | [6 empty] | Forwards | 2028 | 5
2053 | [6 empty] | Forwards | 2028 | 6
2054 | [6 empty] | Forwards | 2028 | 7
2055 | [6 empty] | Forwards | 2028 | 8
[7 empty] | Forwards | 2028 | 9
[7 empty] | Forwards | 2028 | 10
[7 empty] | Forwards | 2028 | 11
[7 empty] | Forwards | 2028 | 12
[7 empty] | Forwards | 2029 | 1
[7 empty] | Forwards | 2029 | 2
[7 empty] | Forwards | 2029 | 3
[7 empty] | Forwards | 2029 | 4
[7 empty] | Forwards | 2029 | 5
[7 empty] | Forwards | 2029 | 6
[7 empty] | Forwards | 2029 | 7
[7 empty] | Forwards | 2029 | 8
[7 empty] | Forwards | 2029 | 9
[7 empty] | Forwards | 2029 | 10
[7 empty] | Forwards | 2029 | 11
[7 empty] | Forwards | 2029 | 12
[7 empty] | Transition | 2030 | 1
[7 empty] | Transition | 2030 | 2
[7 empty] | Transition | 2030 | 3
[7 empty] | Transition | 2030 | 4
[7 empty] | Transition | 2030 | 5
[7 empty] | Transition | 2030 | 6
[7 empty] | Transition | 2030 | 7
[7 empty] | Transition | 2030 | 8
[7 empty] | Transition | 2030 | 9
[7 empty] | Transition | 2030 | 10
[7 empty] | Transition | 2030 | 11
[7 empty] | Transition | 2030 | 12
[7 empty] | Transition | 2031 | 1
[7 empty] | Transition | 2031 | 2
[7 empty] | Transition | 2031 | 3
[7 empty] | Transition | 2031 | 4
[7 empty] | Transition | 2031 | 5
[7 empty] | Transition | 2031 | 6
[7 empty] | Transition | 2031 | 7
[7 empty] | Transition | 2031 | 8
[7 empty] | Transition | 2031 | 9
[7 empty] | Transition | 2031 | 10
[7 empty] | Transition | 2031 | 11
[7 empty] | Transition | 2031 | 12
[7 empty] | Transition | 2032 | 1
[7 empty] | Transition | 2032 | 2
[7 empty] | Transition | 2032 | 3
[7 empty] | Transition | 2032 | 4
[7 empty] | Transition | 2032 | 5
[7 empty] | Transition | 2032 | 6
[7 empty] | Transition | 2032 | 7
[7 empty] | Transition | 2032 | 8
[7 empty] | Transition | 2032 | 9
[7 empty] | Transition | 2032 | 10
[7 empty] | Transition | 2032 | 11
[7 empty] | Transition | 2032 | 12
[7 empty] | Transition | 2033 | 1
[7 empty] | Transition | 2033 | 2
[7 empty] | Transition | 2033 | 3
[7 empty] | Transition | 2033 | 4
[7 empty] | Transition | 2033 | 5
[7 empty] | Transition | 2033 | 6
[7 empty] | Transition | 2033 | 7
[7 empty] | Transition | 2033 | 8
[7 empty] | Transition | 2033 | 9
[7 empty] | Transition | 2033 | 10
[7 empty] | Transition | 2033 | 11
[7 empty] | Transition | 2033 | 12
[7 empty] | Transition | 2034 | 1
[7 empty] | Transition | 2034 | 2
[7 empty] | Transition | 2034 | 3
[7 empty] | Transition | 2034 | 4
[7 empty] | Transition | 2034 | 5
[7 empty] | Transition | 2034 | 6
[7 empty] | Transition | 2034 | 7
[7 empty] | Transition | 2034 | 8
[7 empty] | Transition | 2034 | 9
[7 empty] | Transition | 2034 | 10
[7 empty] | Transition | 2034 | 11
[7 empty] | Transition | 2034 | 12
[7 empty] | Transition | 2035 | 1
[7 empty] | Transition | 2035 | 2
[7 empty] | Transition | 2035 | 3
[7 empty] | Transition | 2035 | 4
[7 empty] | Transition | 2035 | 5
[7 empty] | Transition | 2035 | 6
[7 empty] | Transition | 2035 | 7
[7 empty] | Transition | 2035 | 8
[7 empty] | Transition | 2035 | 9
[7 empty] | Transition | 2035 | 10
[7 empty] | Transition | 2035 | 11
[7 empty] | Transition | 2035 | 12
[7 empty] | Transition | 2036 | 1
[7 empty] | Transition | 2036 | 2
[7 empty] | Transition | 2036 | 3
[7 empty] | Transition | 2036 | 4
[7 empty] | Transition | 2036 | 5
[7 empty] | Transition | 2036 | 6
[7 empty] | Transition | 2036 | 7
[7 empty] | Transition | 2036 | 8
[7 empty] | Transition | 2036 | 9
[7 empty] | Transition | 2036 | 10
[7 empty] | Transition | 2036 | 11
[7 empty] | Transition | 2036 | 12
[7 empty] | Transition | 2037 | 1
[7 empty] | Transition | 2037 | 2
[7 empty] | Transition | 2037 | 3
[7 empty] | Transition | 2037 | 4
[7 empty] | Transition | 2037 | 5
[7 empty] | Transition | 2037 | 6
[7 empty] | Transition | 2037 | 7
[7 empty] | Transition | 2037 | 8
[7 empty] | Transition | 2037 | 9
[7 empty] | Transition | 2037 | 10
[7 empty] | Transition | 2037 | 11
[7 empty] | Transition | 2037 | 12
[7 empty] | Transition | 2038 | 1
[7 empty] | Transition | 2038 | 2
[7 empty] | Transition | 2038 | 3
[7 empty] | Transition | 2038 | 4
[7 empty] | Transition | 2038 | 5
[7 empty] | Transition | 2038 | 6
[7 empty] | Transition | 2038 | 7
[7 empty] | Transition | 2038 | 8
[7 empty] | Transition | 2038 | 9
[7 empty] | Transition | 2038 | 10
[7 empty] | Transition | 2038 | 11
[7 empty] | Transition | 2038 | 12
[7 empty] | Transition | 2039 | 1
[7 empty] | Transition | 2039 | 2
[7 empty] | Transition | 2039 | 3
[7 empty] | Transition | 2039 | 4
[7 empty] | Transition | 2039 | 5
[7 empty] | Transition | 2039 | 6
[7 empty] | Transition | 2039 | 7
[7 empty] | Transition | 2039 | 8
[7 empty] | Transition | 2039 | 9
[7 empty] | Transition | 2039 | 10
[7 empty] | Transition | 2039 | 11
[7 empty] | Transition | 2039 | 12
[7 empty] | EIA AEO | 2040 | 1
[7 empty] | EIA AEO | 2040 | 2
[7 empty] | EIA AEO | 2040 | 3
[7 empty] | EIA AEO | 2040 | 4
[7 empty] | EIA AEO | 2040 | 5
[7 empty] | EIA AEO | 2040 | 6
[7 empty] | EIA AEO | 2040 | 7
[7 empty] | EIA AEO | 2040 | 8
[7 empty] | EIA AEO | 2040 | 9
[7 empty] | EIA AEO | 2040 | 10
[7 empty] | EIA AEO | 2040 | 11
[7 empty] | EIA AEO | 2040 | 12
[7 empty] | EIA AEO | 2041 | 1
[7 empty] | EIA AEO | 2041 | 2
[7 empty] | EIA AEO | 2041 | 3
[7 empty] | EIA AEO | 2041 | 4
[7 empty] | EIA AEO | 2041 | 5
[7 empty] | EIA AEO | 2041 | 6
[7 empty] | EIA AEO | 2041 | 7
[7 empty] | EIA AEO | 2041 | 8
[7 empty] | EIA AEO | 2041 | 9
[7 empty] | EIA AEO | 2041 | 10
[7 empty] | EIA AEO | 2041 | 11
[7 empty] | EIA AEO | 2041 | 12
[7 empty] | EIA AEO | 2042 | 1
[7 empty] | EIA AEO | 2042 | 2
[7 empty] | EIA AEO | 2042 | 3
[7 empty] | EIA AEO | 2042 | 4
[7 empty] | EIA AEO | 2042 | 5
[7 empty] | EIA AEO | 2042 | 6
[7 empty] | EIA AEO | 2042 | 7
[7 empty] | EIA AEO | 2042 | 8
[7 empty] | EIA AEO | 2042 | 9
[7 empty] | EIA AEO | 2042 | 10
[7 empty] | EIA AEO | 2042 | 11
[7 empty] | EIA AEO | 2042 | 12
[7 empty] | EIA AEO | 2043 | 1
[7 empty] | EIA AEO | 2043 | 2
[7 empty] | EIA AEO | 2043 | 3
[7 empty] | EIA AEO | 2043 | 4
[7 empty] | EIA AEO | 2043 | 5
[7 empty] | EIA AEO | 2043 | 6
[7 empty] | EIA AEO | 2043 | 7
[7 empty] | EIA AEO | 2043 | 8
[7 empty] | EIA AEO | 2043 | 9
[7 empty] | EIA AEO | 2043 | 10
[7 empty] | EIA AEO | 2043 | 11
[7 empty] | EIA AEO | 2043 | 12
[7 empty] | EIA AEO | 2044 | 1
[7 empty] | EIA AEO | 2044 | 2
[7 empty] | EIA AEO | 2044 | 3
[7 empty] | EIA AEO | 2044 | 4
[7 empty] | EIA AEO | 2044 | 5
[7 empty] | EIA AEO | 2044 | 6
[7 empty] | EIA AEO | 2044 | 7
[7 empty] | EIA AEO | 2044 | 8
[7 empty] | EIA AEO | 2044 | 9
[7 empty] | EIA AEO | 2044 | 10
[7 empty] | EIA AEO | 2044 | 11
[7 empty] | EIA AEO | 2044 | 12
[7 empty] | EIA AEO | 2045 | 1
[7 empty] | EIA AEO | 2045 | 2
[7 empty] | EIA AEO | 2045 | 3
[7 empty] | EIA AEO | 2045 | 4
[7 empty] | EIA AEO | 2045 | 5
[7 empty] | EIA AEO | 2045 | 6
[7 empty] | EIA AEO | 2045 | 7
[7 empty] | EIA AEO | 2045 | 8
[7 empty] | EIA AEO | 2045 | 9
[7 empty] | EIA AEO | 2045 | 10
[7 empty] | EIA AEO | 2045 | 11
[7 empty] | EIA AEO | 2045 | 12
[7 empty] | EIA AEO | 2046 | 1
[7 empty] | EIA AEO | 2046 | 2
[7 empty] | EIA AEO | 2046 | 3
[7 empty] | EIA AEO | 2046 | 4
[7 empty] | EIA AEO | 2046 | 5
[7 empty] | EIA AEO | 2046 | 6
[7 empty] | EIA AEO | 2046 | 7
[7 empty] | EIA AEO | 2046 | 8
[7 empty] | EIA AEO | 2046 | 9
[7 empty] | EIA AEO | 2046 | 10
[7 empty] | EIA AEO | 2046 | 11
[7 empty] | EIA AEO | 2046 | 12
[7 empty] | EIA AEO | 2047 | 1
[7 empty] | EIA AEO | 2047 | 2
[7 empty] | EIA AEO | 2047 | 3
[7 empty] | EIA AEO | 2047 | 4
[7 empty] | EIA AEO | 2047 | 5
[7 empty] | EIA AEO | 2047 | 6
[7 empty] | EIA AEO | 2047 | 7
[7 empty] | EIA AEO | 2047 | 8
[7 empty] | EIA AEO | 2047 | 9
[7 empty] | EIA AEO | 2047 | 10
[7 empty] | EIA AEO | 2047 | 11
[7 empty] | EIA AEO | 2047 | 12
[7 empty] | EIA AEO | 2048 | 1
[7 empty] | EIA AEO | 2048 | 2
[7 empty] | EIA AEO | 2048 | 3
[7 empty] | EIA AEO | 2048 | 4
[7 empty] | EIA AEO | 2048 | 5
[7 empty] | EIA AEO | 2048 | 6
[7 empty] | EIA AEO | 2048 | 7
[7 empty] | EIA AEO | 2048 | 8
[7 empty] | EIA AEO | 2048 | 9
[7 empty] | EIA AEO | 2048 | 10
[7 empty] | EIA AEO | 2048 | 11
[7 empty] | EIA AEO | 2048 | 12
[7 empty] | EIA AEO | 2049 | 1
[7 empty] | EIA AEO | 2049 | 2
[7 empty] | EIA AEO | 2049 | 3
[7 empty] | EIA AEO | 2049 | 4
[7 empty] | EIA AEO | 2049 | 5
[7 empty] | EIA AEO | 2049 | 6
[7 empty] | EIA AEO | 2049 | 7
[7 empty] | EIA AEO | 2049 | 8
[7 empty] | EIA AEO | 2049 | 9
[7 empty] | EIA AEO | 2049 | 10
[7 empty] | EIA AEO | 2049 | 11
[7 empty] | EIA AEO | 2049 | 12
[7 empty] | EIA AEO | 2050 | 1
[7 empty] | EIA AEO | 2050 | 2
[7 empty] | EIA AEO | 2050 | 3
[7 empty] | EIA AEO | 2050 | 4
[7 empty] | EIA AEO | 2050 | 5
[7 empty] | EIA AEO | 2050 | 6
[7 empty] | EIA AEO | 2050 | 7
[7 empty] | EIA AEO | 2050 | 8
[7 empty] | EIA AEO | 2050 | 9
[7 empty] | EIA AEO | 2050 | 10
[7 empty] | EIA AEO | 2050 | 11
[7 empty] | EIA AEO | 2050 | 12
[7 empty] | Escalated | 2051 | 1
[7 empty] | Escalated | 2051 | 2
[7 empty] | Escalated | 2051 | 3
[7 empty] | Escalated | 2051 | 4
[7 empty] | Escalated | 2051 | 5
[7 empty] | Escalated | 2051 | 6
[7 empty] | Escalated | 2051 | 7
[7 empty] | Escalated | 2051 | 8
[7 empty] | Escalated | 2051 | 9
[7 empty] | Escalated | 2051 | 10
[7 empty] | Escalated | 2051 | 11
[7 empty] | Escalated | 2051 | 12
[7 empty] | Escalated | 2052 | 1
[7 empty] | Escalated | 2052 | 2
[7 empty] | Escalated | 2052 | 3
[7 empty] | Escalated | 2052 | 4
[7 empty] | Escalated | 2052 | 5
[7 empty] | Escalated | 2052 | 6
[7 empty] | Escalated | 2052 | 7
[7 empty] | Escalated | 2052 | 8
[7 empty] | Escalated | 2052 | 9
[7 empty] | Escalated | 2052 | 10
[7 empty] | Escalated | 2052 | 11
[7 empty] | Escalated | 2052 | 12
[7 empty] | Escalated | 2053 | 1
[7 empty] | Escalated | 2053 | 2
[7 empty] | Escalated | 2053 | 3
[7 empty] | Escalated | 2053 | 4
[7 empty] | Escalated | 2053 | 5
[7 empty] | Escalated | 2053 | 6
[7 empty] | Escalated | 2053 | 7
[7 empty] | Escalated | 2053 | 8
[7 empty] | Escalated | 2053 | 9
[7 empty] | Escalated | 2053 | 10
[7 empty] | Escalated | 2053 | 11
[7 empty] | Escalated | 2053 | 12
[7 empty] | Escalated | 2054 | 1
[7 empty] | Escalated | 2054 | 2
[7 empty] | Escalated | 2054 | 3
[7 empty] | Escalated | 2054 | 4
[7 empty] | Escalated | 2054 | 5
[7 empty] | Escalated | 2054 | 6
[7 empty] | Escalated | 2054 | 7
[7 empty] | Escalated | 2054 | 8
[7 empty] | Escalated | 2054 | 9
[7 empty] | Escalated | 2054 | 10
[7 empty] | Escalated | 2054 | 11
[7 empty] | Escalated | 2054 | 12
[7 empty] | Escalated | 2055 | 1
[7 empty] | Escalated | 2055 | 2
[7 empty] | Escalated | 2055 | 3
[7 empty] | Escalated | 2055 | 4
[7 empty] | Escalated | 2055 | 5
[7 empty] | Escalated | 2055 | 6
[7 empty] | Escalated | 2055 | 7
[7 empty] | Escalated | 2055 | 8
[7 empty] | Escalated | 2055 | 9
[7 empty] | Escalated | 2055 | 10
[7 empty] | Escalated | 2055 | 11
[7 empty] | Escalated | 2055 | 12

## Transmission Upgrades
Transmission Upgrade Assumptions
Link ID | Interface | Additional Capability (MW) | Year
1
2
3
4
5
6
7
8
9
10